## DMND Flat
https://www.calculator.net/btu-calculator.html?roomsize1=100&roomwidthunit=meters&ceilingheight1=3&ceilingheight1unit=meters&people1=4&roomtype1=house&insulation1=normal&sunexposure1=sunny&climate1=hot&ctype=room&x=103&y=24
[9 empty] | https://www.bbc.co.uk/news/magazine-12606943 | [11 empty] | Building Design Schemes: | High Rise Buildings:
https://www.appliancesonline.com.au/product/kelvinator-39kw-window-box-air-conditioner-kwh39cre
[8 empty] | https://www.bbc.com/news/science-environment-15836433 | https://www.appliancesonline.com.au/product/kelvinator-6kw-window-box-reverse-cycle-air-conditioner-kwh62hre | https://www.apple.com/at/shop/product/MU7V2ZM/A/18w-usb%E2%80%91c-power-adapter?fnode=97 | [12 empty] | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Demand Design | [6 empty] | https://www.harveynorman.com.au/chiq-216l-top-mount-fridge-white.html | https://www.victorianplumbing.co.uk/triton-safeguard-pumped-care-shower-9-5-kw-electric-shower-csgpe09wc | https://www.appliancesonline.com.au/public/manuals/KWH26CRE-Kelvinator-Specifications-Sheet.pdf | https://www.apple.com/at/shop/product/MRW22ZM/A/61w-usb%E2%80%91c-power-adapter?fnode=2a64f71e05232b77c8186d4b517bc9ef2b7b912a102433afa05c3213724d2f90454bee06c48ef2d5a94012bb2a7768c2996ccd8d4893dbc48a94a8a6cbb41c6585ae511d1c581cf64610cf1b7c6d41b3f5c1a789a458c120c9d3662bff742611 | https://www.homebase.co.uk/luceco-lock-ring-gu10-ip20-fixed-downlight-chrome_p477892 | https://www.homebase.co.uk/cda-sk210ss-built-in-single-fan-electric-oven-stainless-steel_p288772 | https://www.johnlewis.com/toshiba-24wl3a63db-2019-led-hd-ready-720p-smart-tv-24-inch-with-freeview-hd-freeview-play-black/p4269742 | https://www.homebase.co.uk/indesit-ecotime-dif-04b1-integrated-dishwasher-white_p191138 | https://www.home-water-works.org/indoor-use/toilets |  |  | https://electricalnotes.wordpress.com/2011/10/31/demand-factor-diversity-factor-utilization-factor-load-factor/ |  |  |  |  | Stairwell |  | Balc | [41 empty] | 2.5
| Single Flat |  |  |  |  | Time | Fridge | Electric Shower | Air Conditioner | Charging of Devices | Lights | Oven | TV | Dishwasher | Toilet | Total | OVERALL | Max Demand | Demand Factor | Total Connected Load |  |  |  |  | Flat1 |  |  |  | Flat2 | [37 empty] | 2.5
|  | Rooms |  | Size (m^2) |  | (hrs) | (kWh) | (kWh) | (kWh) | (kWh) | (kWh) | (kWh) | (kWh) | (kWh) | (kWh) | (kWh) |  | (kW) | Residential | (kW) | [46 empty] | 2.5
|  |  | Sitting+Dining Room | 40 |  | 0:00 | 0.030251 | 0 | 6.9 | 0.316 | 0 | 0 | 0.0005 | 0 | 0 | 7.2468 |  | 16.6235 | 0.6 | 27.7058 | [46 empty] | 2.5
|  |  | Bedroom 1 | 22 |  | 1:00 | 0.030251 | 0 | 6.9 | 0.316 | 0 | 0 | 0.0005 | 0 | 0 | 7.2468 | [50 empty] | 2.5
|  |  | Bedroom 2 | 20 |  | 2:00 | 0.030251 | 0 | 6.9 | 0.316 | 0 | 0 | 0.0005 | 0 | 0 | 7.2468 |  | Max Demand of Building | Diversity Factor | Sum of max demands | [46 empty] | 2.5
|  |  | Bathroom | 18 |  | 3:00 | 0.030251 | 0 | 6.9 | 0.316 | 0 | 0 | 0.0005 | 0 | 0 | 7.2468 |  | (kW) | 50 to above apartments | (kW)
[6 empty] | 4:00 | 0.030251 | 0 | 6.9 | 0.316 | 0 | 0 | 0.0005 | 0 | 0 | 7.2468 |  | 664.938 | 0.4 | 1662.3451 |  |  |  | Stairwell | [8 empty] | Total length |  |  | 112.5 | m |  |  | Total area |  |  | 1968.75 | m^2
|  |  | Total | 100 |  | 5:00 | 0.030251 | 0 | 6.9 | 0.316 | 0 | 0 | 0.0005 | 0 | 0 | 7.2468 | [7 empty] | Flat1 | [8 empty] | Total width |  |  | 17.5 | m
[6 empty] | 6:00 | 0.030251 | 0 | 6.9 | 0.316 | 0 | 0 | 0.0005 | 0 | 0 | 7.2468 | DAY | Max Demand | Demand Factor | Total Connected Load |  |  |  | Flat2 | [8 empty] | Total height |  |  | 35 | m
[6 empty] | 7:00 | 0.030251 | 0 | 13.8 | 0.316 | 0 | 0 | 0.0005 | 0 | 0 | 14.1468 |  | (kW) | Residential | (kW) |  |  |  | Balconies
|  | People |  |  |  | 8:00 | 0.030251 | 4.75 | 13.8 | 0.316 | 1 | 0 | 0.0005 | 0 | 0 | 19.8968 |  | 14.5985 | 0.6 | 24.3308 | [12 empty] | height of ceilings in building | [5 empty] | 3 | m
|  |  | Max Occupancy |  |  | 9:00 | 0.030251 | 0 | 13.8 | 0 | 1 | 0 | 0.0005 | 0 | 0 | 14.8308 | [16 empty] | thickness of floors | [5 empty] | 0.5 | m
|  |  | 4 |  |  | 10:00 | 0.030251 | 0 | 13.8 | 0 | 1 | 0 | 0.0005 | 0 | 0 | 14.8308 |  | Max Demand of Building | Diversity Factor | Sum of max demands | [12 empty] | height from floor to next | [5 empty] | 3.5 | m
[6 empty] | 11:00 | 0.030251 | 0 | 13.8 | 0 | 1 | 0 | 0.0005 | 0 | 0 | 14.8308 |  | (kW) | 50 to above apartments | (kW) | [12 empty] | floors | [5 empty] | 10
[6 empty] | 12:00 | 0.030251 | 0 | 13.8 | 0 | 1 | 0 | 0.0005 | 0 | 0 | 14.8308 |  | 583.938 | 0.4 | 1459.8451 | [12 empty] | Height of building | [5 empty] | 35 | m | Where floor 1 = ground
[6 empty] | 13:00 | 0.030251 | 0 | 13.8 | 0 | 1 | 0 | 0.0005 | 0 | 0 | 14.8308
[6 empty] | 14:00 | 0.030251 | 0 | 13.8 | 0 | 1 | 0 | 0.0005 | 0 | 0 | 14.8308 | NIGHT | Max Demand | Demand Factor | Total Connected Load
[6 empty] | 15:00 | 0.030251 | 0 | 13.8 | 0 | 1 | 0 | 0.0005 | 0 | 0 | 14.8308 |  | (kW) | Residential | (kW)
[6 empty] | 16:00 | 0.030251 | 0 | 13.8 | 0 | 1 | 0 | 0.0005 | 0 | 0 | 14.8308 |  | 6.7835 | 0.6 | 11.3058 |  | Lobby/Shop |  | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
[6 empty] | 17:00 | 0.030251 | 4.75 | 13.8 | 0 | 1 | 0 | 0.0005 | 0 | 0 | 19.5808 | [6 empty] | 2.5 | Shop |  |  |  |  | Lobby
[6 empty] | 18:00 | 0.030251 | 0 | 6.9 | 0 | 1 | 0 | 0.0195 | 0 | 0 | 7.9498 |  | Max Demand of Building | Diversity Factor | Sum of max demands |  |  | 2.5
[6 empty] | 19:00 | 0.030251 | 0 | 6.9 | 0 | 1 | 2 | 0.0195 | 0 | 0 | 9.9498 |  | (kW) | 50 to above apartments | (kW) |  |  | 2.5
[6 empty] | 20:00 | 0.030251 | 0 | 6.9 | 0 | 1 | 2 | 0.0195 | 0 | 0 | 9.9498 |  | 271.338 | 0.4 | 678.3451 |  |  | 2.5
[6 empty] | 21:00 | 0.030251 | 0 | 6.9 | 0.316 | 0 | 0 | 0.0195 | 1.04 | 0 | 8.3058 | [6 empty] | 2.5
[6 empty] | 22:00 | 0.030251 | 0 | 6.9 | 0.316 | 0 | 0 | 0.0195 | 0 | 0 | 7.2658 | [6 empty] | 2.5
[6 empty] | 23:00 | 0.030251 | 0 | 6.9 | 0.316 | 0 | 0 | 0.0005 | 0 | 0 | 7.2468
[6 empty] | Load | 0.030251 | 9.5 | 13.8 | 0.316 | 1 | 2 | 0.0195 | 1.04
[6 empty] | Load Day | 0.030251 | 9.5 | 13.8 | 0 | 1 | 0 | 0.0005 | 0 | 0 | 24.3308
[6 empty] | Load Night | 0.030251 | 0 | 6.9 | 0.316 | 1 | 2 | 0.0195 | 1.04 | 0 | 11.3058
Shop
[5 empty] | KWh required per | Day | 0.72603 | 9.5 | 241.5 | 3.792 | 13 | 4 | 0.107 | 1.04 | 0 | 273.665 | [7 empty] | Lobby | [8 empty] | Total length |  |  | 35 | m
[6 empty] | Annum | 265 | 3467.5 | 88147.5 | 1384.08 | 4745 | 1460 | 39.055 | 379.6 | 0 | 99887.735 | [16 empty] | Total width |  |  | 15 | m
[33 empty] | Total height |  |  | 3.5 | m
[6 empty] | Capital £ | 300 | 300 | 1900 | n/a | 160 | 300 | 150 | 275 | 0 | 3385
[25 empty] | 500 | [7 empty] | Total area |  |  | 525 | m^2
[8 empty] | 8 mins pp | 19oC | Assuming people | Assuming 10 | [12 empty] | 200 | 300
[8 empty] | per shower |  | bring laptop and a | in dining room | 2 kW |  | 1.04 kWh | No power | [10 empty] | 20 | 30
[9 empty] | 2 units 3.9kW | phone each |  | one oven |  | per year | use | [9 empty] | 10
[8 empty] | 62litres H2O | 1 unit 6kW |  | And 4 in rooms | [14 empty] | 50
[10 empty] | 4 phones |  | used for |  | 11L H2O | 8 cycles a day | [9 empty] | 10
[10 empty] | 4 laptops | And 2 in bathroom | dinner |  | per cycle
[15 empty] | 5 litres a cycle | [10 empty] | 35
[10 empty] | 61 W | 20 overall | for an hour |  | 1 cycle a day | [10 empty] | 15
18 W
WCS they are
on when we
are on

## DMND Shop and Lobby
Demand Design |  |  |  |  | https://www.apple.com/at/shop/buy-mac/imac
| Shop + Hotel Lobby |  |  |  | https://www.geekhampton.com/gh-blog/2017/6/21/sleep-your-mac-more-to-save-time-and-power
|  | Shop (1) |  |  | https://www.apple.com/at/imac/specs/
| 200m^2 |  | Time | Fridges | Desktop | Total | Max Demand | Demand Factor | Total Connected Load
|  |  | (hrs) | (kWh) | (kWh) | (kWh) | (kW) | airport/bank/shop | (kW)
|  |  | 0:00 | 1.21 | 0.06 | 1.27 | 30.246 | 0.6 | 50.41
|  |  | 1:00 | 1.21 | 0.06 | 1.27
|  |  | 2:00 | 1.21 | 0.06 | 1.27 | No diversity, day in day out.
|  |  | 3:00 | 1.21 | 0.06 | 1.27
|  |  | 4:00 | 1.21 | 0.06 | 1.27
|  |  | 5:00 | 1.21 | 0.06 | 1.27
|  |  | 6:00 | 1.21 | 0.06 | 1.27
|  |  | 7:00 | 1.21 | 0.06 | 1.27
|  |  | 8:00 | 1.21 | 0.06 | 1.27
|  |  | 9:00 | 1.21 | 0.2 | 1.41
|  |  | 10:00 | 1.21 | 0.2 | 1.41
|  |  | 11:00 | 1.21 | 0.2 | 1.41
|  |  | 12:00 | 1.21 | 0.2 | 1.41
|  |  | 13:00 | 1.21 | 0.2 | 1.41
|  |  | 14:00 | 1.21 | 0.2 | 1.41
|  |  | 15:00 | 1.21 | 0.2 | 1.41
|  |  | 16:00 | 1.21 | 0.2 | 1.41
|  |  | 17:00 | 1.21 | 0.2 | 1.41
|  |  | 18:00 | 1.21 | 0.2 | 1.41
|  |  | 19:00 | 1.21 | 0.06 | 1.27
|  |  | 20:00 | 1.21 | 0.06 | 1.27
|  |  | 21:00 | 1.21 | 0.06 | 1.27
|  |  | 22:00 | 1.21 | 0.06 | 1.27
|  |  | 23:00 | 1.21 | 0.06 | 1.27
|  | Load |  | 1.21 | 0.2 | 1.41
|  | E needed per | Day | 29.0411 | 2.84 | 31.8811
|  |  | Annum | 10600 | 1036.6 | 11636.6
|  |  | Capital £ | 12000 | 1000
|  |  |  | 40 fridges | 1 customer PC
for till function
Idle 60W
Active 200W
Full use during working hours
Reduced use outside
Lobby (2)
| 300m^2 |  | Time | Air Conditioner | Desktop | Total
| 50000 BTU hr-1 |  | (hrs) | (kWh) | (kWh) | (kWh)
|  |  | 0:00 | 24 | 0.3 | 24.3
|  |  | 1:00 | 24 | 0.3 | 24.3
|  |  | 2:00 | 24 | 0.3 | 24.3
|  |  | 3:00 | 24 | 0.3 | 24.3
|  |  | 4:00 | 24 | 0.3 | 24.3
|  |  | 5:00 | 24 | 0.3 | 24.3
|  |  | 6:00 | 24 | 0.3 | 24.3
|  |  | 7:00 | 48 | 0.3 | 48.3
|  |  | 8:00 | 48 | 1 | 49
|  |  | 9:00 | 48 | 1 | 49
|  |  | 10:00 | 48 | 1 | 49
|  |  | 11:00 | 48 | 1 | 49
|  |  | 12:00 | 48 | 1 | 49
|  |  | 13:00 | 48 | 1 | 49
|  |  | 14:00 | 48 | 1 | 49
|  |  | 15:00 | 48 | 1 | 49
|  |  | 16:00 | 48 | 1 | 49
|  |  | 17:00 | 48 | 1 | 49
|  |  | 18:00 | 24 | 1 | 25
|  |  | 19:00 | 24 | 0.3 | 24.3
|  |  | 20:00 | 24 | 0.3 | 24.3
|  |  | 21:00 | 24 | 0.3 | 24.3
|  |  | 22:00 | 24 | 0.3 | 24.3
|  |  | 23:00 | 24 | 0.3 | 24.3
|  |  | Load | 48 | 1 | 49
|  | E (kwh) per | Day | 840 | 14.9 | 854.9
|  |  | Annum | 306600 | 5438.5 | 312038.5
|  |  | Capital £ | 7200 | 5000
|  |  |  | 8 air con units | 5 customer PC
|  |  |  | required | for till function
19oC
2 units 3.9kW
1 unit 6kW

## DMND Single Pump House
Demand Design
| Pump House | [9 empty] | Tank1 | Salty water tank
|  | Room |  |  | http://www.mcnallyinstitute.com/06-html/6-01.html | [5 empty] | Tank2 | Building 1 water tank
|  |  | Pump Room (1) |  | Sea to Desal | Desal to Tank2 | Desal to Tank3 | Desal to Tank4 | Desal to Tank5 |  | Tank3 | Building 2 water tank
|  |  |  | Time | Pump 1 | Pump 2 | Pump 3 | Pump 4 | Pump 5 |  | Tank4 | Building 3 water tank
|  |  |  | (hrs) | (kWh) | (kWh) | (kWh) | (kWh) | (kWh) |  | Tank5 | Hydrogen Manufacture tank
0:00
1:00
2:00
3:00
4:00
5:00
6:00
7:00
8:00
9:00
10:00
11:00
12:00
13:00
14:00
15:00
16:00
17:00
18:00
19:00
20:00
21:00
22:00
23:00
Assuming a pumping efficiency of 65%
Desalination Systems (2)
|  |  |  | Time | Desalinator 1 | Desalinator 2 | Desalinator 3 | Salt water in | Estimated Brine Out | Potable Water Out
|  |  |  | (hrs) | (kWh) | (kWh) | (kWh) | (m^3) | (m^3) | (m^3)
|  |  |  | 0:00 | 15 | 15 |  | 16.8 | 10.2 | 6.6
|  |  |  | 1:00 | 15 | 15 |  | 16.8 | 10.2 | 6.6
|  |  |  | 2:00 | 15 | 15 |  | 16.8 | 10.2 | 6.6
|  |  |  | 3:00 | 15 | 15 |  | 16.8 | 10.2 | 6.6
|  |  |  | 4:00 | 15 | 15 |  | 16.8 | 10.2 | 6.6
|  |  |  | 5:00 | 15 | 15 |  | 16.8 | 10.2 | 6.6
|  |  |  | 6:00 | 15 | 15 |  | 16.8 | 10.2 | 6.6
|  |  |  | 7:00 | 15 | 15 |  | 16.8 | 10.2 | 6.6
|  |  |  | 8:00 | 15 | 15 |  | 16.8 | 10.2 | 6.6
|  |  |  | 9:00 | 15 | 15 |  | 16.8 | 10.2 | 6.6
|  |  |  | 10:00 | 15 | 15 |  | 16.8 | 10.2 | 6.6
|  |  |  | 11:00 | 15 | 15 |  | 16.8 | 10.2 | 6.6
|  |  |  | 12:00 | 15 | 15 |  | 16.8 | 10.2 | 6.6
|  |  |  | 13:00 | 15 | 15 |  | 16.8 | 10.2 | 6.6
|  |  |  | 14:00 | 15 | 15 |  | 16.8 | 10.2 | 6.6
|  |  |  | 15:00 | 15 | 15 |  | 16.8 | 10.2 | 6.6
|  |  |  | 16:00 | 15 | 15 |  | 16.8 | 10.2 | 6.6
|  |  |  | 17:00 | 15 | 15 |  | 16.8 | 10.2 | 6.6
|  |  |  | 18:00 | 15 | 15 |  | 16.8 | 10.2 | 6.6
|  |  |  | 19:00 | 15 | 15 |  | 16.8 | 10.2 | 6.6
|  |  |  | 20:00 | 15 | 15 |  | 16.8 | 10.2 | 6.6
|  |  |  | 21:00 | 15 | 15 |  | 16.8 | 10.2 | 6.6
|  |  |  | 22:00 | 15 | 15 |  | 16.8 | 10.2 | 6.6
|  |  |  | 23:00 | 15 | 15 |  | 16.8 | 10.2 | 6.6
|  |  | Total per | day | 360 | 360 | 0 | 403.2 | 244.8 | 158.4

## TOTDMND E Demands
Demand Design | [13 empty] | https://www.ballard.com/docs/default-source/motive-modules-documents/fcvelocity_md_low_res.pdf
| Buildings | [11 empty] | Fuel Cell Specs
|  | Building 1 |  |  | Nr of Single Flats | Daily E Requirement | Total Daily E | Total Daily E | Total Daily E | Total H2 Daily | Peak Diversified Demand | Total Peak Diversified Demand |  | Output | 200 | kW | 85 - 180V | DC current
|  |  | Floors |  | (#) | (kWh) | (kWh) | (kWh) | (MWh) | (kg) | (kW) | (kW) |  | Consumption | 4.7 | g s^-1 | 0-300 A
|  |  |  | 1 | 10 | 2736.6503 | 27366.5027 | 82986.2893 | 82.9863 | 7020.6401 | 664.938 | 2025.0601 |  | Consumption | 0.0047 | kg s^-1 | 900 x 480 x 375 | mm
|  |  |  | 2 | 10 | 2736.6503 | [7 empty] | Consumption | 0.053789 | Nm^3 s^-1
|  |  |  | 3 | 10 | 2736.6503
|  |  |  | 4 | 10 | 2736.6503 | [6 empty] | One machine |  |  |  | 193.64 | 200 | kWh
|  |  |  | 5 | 10 | 2736.6503 | [6 empty] | producing |  |  |  | 1 | 1.0328 | kWh
|  |  |  | 6 | 10 | 2736.6503 | [6 empty] | a days
|  |  |  | 7 | 10 | 2736.6503 | [6 empty] | consumption
|  |  |  | 8 | 10 | 2736.6503 | [6 empty] | would use: | Equivalent hours work | 414.9314 | hrs
|  |  |  | 9 | 10 | 2736.6503 | [7 empty] | Equivalent seconds | 1493753.2077 | s
|  |  |  | 10 | 10 | 2736.6503 | [7 empty] | Nm^3 Used | 80347.3253 | Nm^3
|  | Building 2 | Floors | 1 | 10 | 2736.6503 | 27366.5027 |  |  |  | 664.938 |  |  | kg Used | 7020.6401 | kg
|  |  |  | 2 | 10 | 2736.6503
|  |  |  | 3 | 10 | 2736.6503 | [6 empty] | Number of
|  |  |  | 4 | 10 | 2736.6503 | [6 empty] | fuel cells
|  |  |  | 5 | 10 | 2736.6503 | [6 empty] | required for
|  |  |  | 6 | 10 | 2736.6503 | [6 empty] | diversified peak
|  |  |  | 7 | 10 | 2736.6503 | [6 empty] | demand: | Number required: | 10.1253 | fuel cells
|  |  |  | 8 | 10 | 2736.6503 | [7 empty] | Number practically: | 11 | fuel cells
|  |  |  | 9 | 10 | 2736.6503 | [7 empty] | Practical max product: | 2200 | kW
|  |  |  | 10 | 10 | 2736.6503
|  | Building 3 | Floors | 1 | 10 | 2736.6503 | 27366.5027 |  |  |  | 664.938
|  |  |  | 2 | 10 | 2736.6503
|  |  |  | 3 | 10 | 2736.6503
|  |  |  | 4 | 10 | 2736.6503
|  |  |  | 5 | 10 | 2736.6503
|  |  |  | 6 | 10 | 2736.6503
|  |  |  | 7 | 10 | 2736.6503
|  |  |  | 8 | 10 | 2736.6503
|  |  |  | 9 | 10 | 2736.6503
|  |  |  | 10 | 10 | 2736.6503
|  | Lobby/Shop | Room | 1 | n/a | 31.8811 | 886.7811 |  |  |  | 30.246
|  |  |  | 2 | n/a | 854.9
|  | Pumphouse | Room | 1
2
H2 Station

## TOTDEMAND H2O Demands
Demand Design
| Buildings | [9 empty] | Electrolyser | From 2300-0600, no water is being used in the resort,
|  | Building 1 |  |  | Nr of Single Flats | Daily Shower Water Requirement | Daily Dishwasher requirements | Daily Toilet Requirement | Total Daily Water | Total Daily Water |  | it is at this time a desalinator and pump system must refill the various water storage tanks.
|  |  | Floors |  | (#) | (m^3) | (m^3) | (m^3) | (m^3) | (m^3) |  | Tanks: | Building 1
|  |  |  | 1 | 10 | 4.96 | 0.11 | 0.4 | 54.7 | 165.6 |  |  | Building 2
|  |  |  | 2 | 10 | 4.96 | 0.11 | 0.4 |  |  |  |  | Building 3
|  |  |  | 3 | 10 | 4.96 | 0.11 | 0.4 |  |  |  |  | Hydrogen Manufacture Plant
|  |  |  | 4 | 10 | 4.96 | 0.11 | 0.4
|  |  |  | 5 | 10 | 4.96 | 0.11 | 0.4 |  |  |  | Two solar powered desalinators would provide enough H2O for hotel needs
|  |  |  | 6 | 10 | 4.96 | 0.11 | 0.4 |  |  |  | https://solarwatersolutions.fi/en/shop/solaro-pro-3500-sw/
|  |  |  | 7 | 10 | 4.96 | 0.11 | 0.4 |  |  |  | Specs | 3.3 | m3 hr-1 | from Atlantic source
|  |  |  | 8 | 10 | 4.96 | 0.11 | 0.4 |  |  |  |  | 15kW motor
|  |  |  | 9 | 10 | 4.96 | 0.11 | 0.4 |  |  |  |  | 0.14 | m3 minute max input
|  |  |  | 10 | 10 | 4.96 | 0.11 | 0.4
|  | Building 2 | Floors | 1 | 10 | 4.96 | 0.11 | 0.4 | 54.7
|  |  |  | 2 | 10 | 4.96 | 0.11 | 0.4
|  |  |  | 3 | 10 | 4.96 | 0.11 | 0.4
|  |  |  | 4 | 10 | 4.96 | 0.11 | 0.4
|  |  |  | 5 | 10 | 4.96 | 0.11 | 0.4
|  |  |  | 6 | 10 | 4.96 | 0.11 | 0.4
|  |  |  | 7 | 10 | 4.96 | 0.11 | 0.4
|  |  |  | 8 | 10 | 4.96 | 0.11 | 0.4
|  |  |  | 9 | 10 | 4.96 | 0.11 | 0.4
|  |  |  | 10 | 10 | 4.96 | 0.11 | 0.4
|  | Building 3 | Floors | 1 | 10 | 4.96 | 0.11 | 0.4 | 54.7
|  |  |  | 2 | 10 | 4.96 | 0.11 | 0.4
|  |  |  | 3 | 10 | 4.96 | 0.11 | 0.4
|  |  |  | 4 | 10 | 4.96 | 0.11 | 0.4
|  |  |  | 5 | 10 | 4.96 | 0.11 | 0.4
|  |  |  | 6 | 10 | 4.96 | 0.11 | 0.4
|  |  |  | 7 | 10 | 4.96 | 0.11 | 0.4
|  |  |  | 8 | 10 | 4.96 | 0.11 | 0.4
|  |  |  | 9 | 10 | 4.96 | 0.11 | 0.4
|  |  |  | 10 | 10 | 4.96 | 0.11 | 0.4
|  | Lobby/Shop | Room | 1 | n/a | n/a | n/a | 0 | 1.5
|  |  |  | 2 | n/a | n/a | n/a | 1.5
Guesstimate of 30 uses of toilet facilities in lobby
WCS all flats of 4 people take two showers a day due to the hot climate, giving a requirement for 8 showers each lasting roughly 8 minutes and using 62litres of water.
litres to m3
1 | litre | 1 | dm3 | 0.001 | m3
4960 | litre | 4960 | dm3 | 4.96 | m3

## MNFCTR H2
Electrolyser Specs |  | https://nelhydrogen.com/product/m-series/ |  |  |  | M200 model PEM electrolyser
| E required: | 4.53 | kWh/Nm³ | 4.53 | [11 empty] | kg | nm
| Max output: | 207 | Nm³/h | [6 empty] | h2o | > | h2 | o |  |  | 9 | 103
| Dimensions | 160 | m^2 | [5 empty] | kg | 4.5 |  | 1
| Theoretical H2O consumption | 4.5 | kg kg^-1 |  | kWh required daily: | 363973.3837 | kWh day^-1 |  | atomic mass | 18 |  | 2 |  | mass
| Theoretical H2O consumption | 4.5 | L kg^-1 |  |  | 363.9734 | MW day^-1 | [6 empty] | mr | moles
| Theoretical H2O consumption | 0.0045 | m^3 kg^-1
[9 empty] | moles | 0.25 |  | 0.5
H2 Requirements |  |  |  |  | Hours daily required: | 388.1513 | hrs |  |  | 0.25 |  | 0.25
| H2 used daily | 80347.3253 | Nm^3 |  |  | Only a maximum of 6 hours of sunlight
| H2 used daily | 7020.6401 | kg
H2O Requirements
| H2O used daily | 31592.8803 | kg |  | 70 Electrolysers | 5.545
|  | 31592.8803 | L |  |  | 3.5 | hrs day^-1 | of work required
|  | 31.5929 | m^3
E from solar needed
| energy | 363973.3837 | kWh day^-1
|  | 363.9734 | MWh day^-1