## Sheet1
Basic Requirements: | [8 empty] | Inverter Requirements: | [9 empty] | Inverter Production:
| His System |  |  |  | My System |  |  |  |  | https://library.e.abb.com/public/fff378991d2442a7bef260eea80ee6c4/PVS800-57B_central_inverters_flyer_3AXD50000042985_RevB_EN_lowres.pdf?x-sign=Uwj1u2rK5DT3D7pq6eaZ76wa4MZAG6eCAH9LI3sQMm+Zbmxcexbca8oVTep6N2l9 | [9 empty] | Inverter Specs2: | [6 empty] | Transformer | [6 empty] | In |  | Out |  |  |  | Out |  | Out |  | Out |  | Out |  | Out | [7 empty] | Distribution Board | 722kW spread over four dstrib lines.
|  | Residential |  |  |  | Commercial |  |  |  | PVS800-57B-1732kW-C | [10 empty] | 2598 | kW | Max input in DC | 15 | MW | [8 empty] | A |  | B |  | C |  | D |  | E |  | F |  | G |  | H | [5 empty] | Main line
|  | 6000 | kWh yr-1 | required |  | 10950 | MWh yr^-1 | required |  | 2598 | kW | max power input | [8 empty] | 2078 | kW | Max output in AC |  |  |  |  | 400 | V | 15000 | V |  | V |  | 15000 |  | 6000 |  | 6000 |  | 6000 |  | 1000 |  | 1000 |  | 1000 |  | 1000 | [6 empty] | 1 | 2 | 3 | 4 | 12000 | W | max demand in flat
|  | 4000 | W | capacity |  | 10950000000 | Wh yr^-1 | required |  | 5.7737 | nr | Number required | [8 empty] | 400 | V | Nominal Voltage |  |  |  |  | 29994.2263 | I | 799.846 | I |  | A |  | 799.846 |  | 240.9933 |  | 240.9933 |  | 161.4933 |  | 491.96 |  | 489.2 |  | 477 |  | 0 |  |  |  |  | 6000 | V | 400 | 400 | 400 | 400 | 12 | kW | max demand in flat
|  | 20 | modules needed |  |  | 15 | MW | capacity |  | 5.7737 | nr | Number of inverters required |  | Boundaries of Inverter Abilities |  |  |  | https://hespv.ca/blog/wire-solar-panels-parallel-vs-series/ | [9 empty] | 11997690.5312 | W | 11997690.5312 | W |  | W |  | 11997690.5312 |  | 1445960 |  | 1445960 |  | 968960 |  | 491960 |  | 489200 |  | 477000 |  | 0 |  |  |  |  | 240.9933 | a | 451.25 | 451.25 | 451.25 | 451.25 | 240 | V | max voltage in a flat
[6 empty] | 15000 | kW | [6 empty] | 2598000 | W | Max Power Input |  | Proves that wiring in series has minimal current associated with it. | [6 empty] | p | iv | [27 empty] | 1445960 | W | 180500 | 180500 | 180500 | 180500
|  | 200 | W | module power out |  | 15000000 | W | [6 empty] | 1000 | Vdc | Max Voltage Input |  |  |  |  | 2078000 | W | Power | [9 empty] | kV |  | 15 |  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  | 6 | [10 empty] | 10 | floors
|  | 70 | V | Open Circuit Voltage VOC |  | 260 | W | modules max power out | [5 empty] | 3700 | Amps Imax | Max Current Input |  |  |  |  | 400 | V | Nominal Voltage | [9 empty] | kA |  | 0.79985 |  | 0.24099 |  | 0.24099 |  | 0.24099 |  | 0.24099 |  | 0.24099 |  | 0.24099 |  | 0.24099 | [6 empty] | Each wire serves: | 25 | flats |  | 10 | flats per floor
[6 empty] | 57692.3077 | nr | modules needed | [12 empty] | 5195 | Amps I | Current | [9 empty] | kW |  | 11997.6905 |  | 1445.96 |  | 1445.96 |  | 1445.96 |  | 1445.96 |  | 1445.96 |  | 1445.96 |  | 1445.96 | [10 empty] | 100 | flats
|  | 1 | string | String design |  | 38.1 | V | VOC |  | Largest single string design compatible with inverter: | [22 empty] | mm^2 |  | 500 |  | 70 |  | 70 |  | 35 |  | 500 |  | 500 |  | 500
|  | 10 | modules | String design | [5 empty] | 0.1 | MW | capacity |  |  | Each Inverter can handle 24 input lines. | [5 empty] | 400 | V | Nominal Voltage Vs
|  | 700 | Vdc | String design |  | 3 | strings | String design |  | 100 | kW |  |  |  | 24 | lines | [5 empty] | ohms m^-1 | Resistance of wire per 1000ft R ohms per kilofoot | [11 empty] | Overhead | [6 empty] | Transform down | [13 empty] | 722 | kW
[6 empty] | 7 | modules | String design |  | 100000 | W |  |  |  | 1 | inverter | [5 empty] | m | length of wire d | [11 empty] | X-VOLT RHZ1 (S) | [6 empty] | Bury | [13 empty] | 722000 | W
|  | 600 | Vdc | Residential limit |  | 76650 | Vdc | One string outputs |  | 260 | W | modules max power out |  |  | 2.4 | MW | worth of panels can be handled. |  |  |  | 5195 | Amps I | current I | [18 empty] | Powerflex RV-K
[6 empty] | 270.7005 | Vdcmax | One string can output at max |  | 384.6154 | nr | modules needed | [29 empty] | cable |  |  |  | Type | mm | km | kg km-1 | kg | £ kg-1 | £ |  |  |  | V | 400
|  | 3 | strings | String design | [5 empty] | 38.1 | V | VOC |  |  | How many inverter stations are required in this case?? | [30 empty] | al | 500 | 0.23 | 2480 | 570.4 | 1.33 | 758.632 | 1078.7098 |  |  | a | 1805
|  | 7 | modules | String design | [10 empty] | 6.25 | inverter stations required | [29 empty] | al | 70 | 0.31 | 764 | 236.84 | 1.33 | 314.9972 |  |  |  | W | 722000
|  | 490 | Vdc | One string outputs | [5 empty] | 15 | strings | String design | System Setup |  | 7 | actual number of inverter stations required | [29 empty] | al | 35 | 0.01 | 382 | 3.82 | 1.33 | 5.0806
|  | 556.22 | Vdcmax | One string can output at max | [5 empty] | 25.641 | modules | String design | [33 empty] | cu | 500 | 0.14 | 4.776 | 0.66864 | 4.6 | 3.0757 |  |  |  | V | 240
[10 empty] | 0 | Vdc | One string outputs | [43 empty] | a | 1504.1667
|  | -0.172 | V / oC | module temp coefficient Kt |  | -0.3 | % / oC | module temp coefficient Kt |  | 991.5769 | Vdcmax | One string can output at max | [43 empty] | W | 361000
|  | -30 | oC | lowest temperature in area |  | -0.1143 | V / oC | module temp coefficient Kt | [23 empty] | http://www.pkpcables.com/fa/images/Top%20Cable%20General%20Catalogue.pdf | [15 empty] | 45 | euros per m2 of tarmac
[6 empty] | 20 | oC | lowest temperature in area | [23 empty] | X-VOLT RHZ1 (S)
|  | 79.46 | V | VOCmax
|  | -55 | oC | Change in T |  | 38.6715 | V | VOCmax
|  | -0.172 | V / oC | Kt |  | -5 | oC | Change in T
|  | 70 | V | VOC at STC |  | -0.1143 | V / oC | Kt |  | -0.3 | % / oC | module temp coefficient Kt
[6 empty] | 38.1 | V | VOC at STC |  | -0.1143 | V / oC | module temp coefficient Kt | [23 empty] | 50Hz
|  | Inverter Decision Making | [7 empty] | 20 | oC | lowest temperature in area | [20 empty] | Losses Calculated in Addition to Cables |  |  | 20kV
[6 empty] | Inverter Decision Making | [29 empty] | Electrolysers
|  | 55.8 | V V max | Maximum voltage ouputted per module | [5 empty] | 38.6715 | V | VOCmax | [21 empty] | In |  | Out |  | in |  | Out |  | Out |  | Out |  | Out |  | Out
|  | 3.59 | Amps I max | Max current outputted per module |  | 31.1 | Vmax | Maximum voltage ouputted per module |  | -5 | oC | Change in T | [21 empty] | A |  | B |  | C |  | D |  | E |  | F |  | G |  | H
|  | 200 | W | Rated power |  | 8.37 | Imax | Max current outputted per module |  | -0.1143 | V / oC | Kt | [20 empty] | V |  | 15000 |  | 6000 |  | 6000 |  | 6000 |  | 1000 |  | 1000 |  | 1000 |  | 1000
[6 empty] | 260 | W | Rated power |  | 38.1 | V | VOC at STC | [20 empty] | A |  | 799.846 |  | 240.9933 |  | 240.9933 |  | 161.4933 |  | 491.96 |  | 489.2 |  | 477 |  | 0
|  | 4200 | W | 3 strings of 7 modules | [28 empty] | W |  | 11997690.5312 |  | 1445960 |  | 1445960 |  | 968960 |  | 491960 |  | 489200 |  | 477000 |  | 0
|  | 75.39 | I | 3 strings of 7 modules | [5 empty] | Inverter Decision Making
|  | 390.6 | V | 3 strings of 7 modules | [28 empty] | kV |  | 15 |  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  | 6
[10 empty] | 31.1 | V V max | Maximum voltage ouputted per module | [20 empty] | kA |  | 0.79985 |  | 0.24099 |  | 0.24099 |  | 0.24099 |  | 0.24099 |  | 0.24099 |  | 0.24099 |  | 0.24099
|  | ?? | Amps I | Max short circuit current | [5 empty] | 8.37 | Amps I max | Max current outputted per module | [20 empty] | kW |  | 11997.6905 |  | 1445.96 |  | 1445.96 |  | 1445.96 |  | 1445.96 |  | 1445.96 |  | 1445.96 |  | 1445.96
|  | 556.22 | Vdcmax | Max open circuit voltage | [5 empty] | 260 | W | Rated power | [20 empty] | mm^2 |  | 500 |  | 70 |  | 70 |  | 35 |  | 500 |  | 500 |  | 500
|  | 4000 | W | Inverter generally acceptable… | [5 empty] | 100000 | W | System Setup | In Boundaries? | Yes | [20 empty] | Overhead | [6 empty] | Transform down
[10 empty] | 3219.2308 | I | System Setup | In Boundaries? | Yes | [20 empty] | X-VOLT RHZ1 (S) | [6 empty] | Bury
[10 empty] | 797.4359 | V | System Setup | [29 empty] | Powerflex RV-K
| Wiring decision making | [34 empty] | Transform down | [5 empty] | cable
[10 empty] | ?? | Amps I | Max short circuit current
[10 empty] | 991.5769 | Vdcmax | Max open circuit voltage | In Boundaries? | Yes
[33 empty] | km |  | 0.23 |  | 0.13 |  | 0.18 |  | 0.01 |  | 0.07 |  | 0.01 |  | 0.06
[10 empty] | 4000 | W | Inverter generally acceptable… | [20 empty] | Resistance | ohms km-1 at 50 hZ | 0.091 |  | 0.12 |  | 0.12 |  | 0.13 |  | 0.085 |  | 0.085 |  | 0.085
[33 empty] | % Drop in V |  |  | 0.00022321 |  | 0.00012532 |  | 0.00017352 |  | 6.998e-06 |  | 0.00058543 |  | 8.3164e-05 |  | 0.00048654